## Executive Dashboard
MSD ¦ ELV BUDGETARY ESTIMATE
DIRIYAH • WALDORF ASTORIA HOTEL & BRANDED RESIDENCES + BOULEVARD NORTH-WEST ASSETS
COVERAGE / GATE | HOTEL | ASSETS | TOTAL
Indexed BOQ item rows | 702 | 155 | 857
System package combinations (indexed) | 23 | 15 | 38
System combinations without indexed BOQ | 5 | 13 | 18
Supply allowance SAR | 22830000 | 4205000 | 27035000
Direct cost base SAR | 30363900 | 5592650 | 35956550
ESTIMATE WATERFALL | LOW | BASE | HIGH
Direct systems cost | 25169585 | 35956550 | 53934825
Preliminaries & PM | 2013566.8 | 2876524 | 4314786
Cost incl. preliminaries | 27183151.8 | 38833074 | 58249611
Contingency allowance | 5436630.36 | 7766614.8 | 11649922.2
Total cost before markup | 32619782.16 | 46599688.8 | 69899533.2
Commercial markup | 4892967.324 | 6989953.32 | 10484929.98
Budgetary subtotal excl. VAT | 37512749.484 | 53589642.12 | 80384463.18
VAT (indicative) | 5626912.4226 | 8038446.318 | 12057669.477
Budgetary total incl. VAT | 43139661.9066 | 61628088.438 | 92442132.657
ESTIMATOR NOTICE / NOT A SUPPLIER QUOTATION
Preliminary conceptual allowances only; the project BOQs, drawing take-offs, equipment schedules and approved brands are NOT in the supplied file set.
Changing included flags or individual blue supply input cells updates totals; edit global rates on the Assumptions tab.
LOW and HIGH are scenario multipliers, not researched statistically derived bounds.
Excluding 18 zero-indexed building/system combinations does not establish contractual absence; verify before pricing final.
Sources: ELV_BOQ_Index(1).xlsx; ELV_Package_LOG(2).xlsx; ELV_Package_Status_OneDrive(1).xlsx; PQQ hotel/Assets.

## Package Estimates
MSD ¦ DIRIYAH ELV SYSTEM-WIDE BUDGETARY PRICING MODEL
EDIT BLUE SUPPLY ALLOWANCES & YELLOW INPUTS • ZERO-INDEXED COMBINATIONS EXCLUDED • SAR EXCL VAT
Ref | Building | ELV system / solution | Source BOQ status | Include? | Indexed item rows | Named BOQ file (not attached) | Supply allowance SAR | Install / integration SAR | Engineering SAR | T&C SAR | Base direct SAR | Low direct SAR | High direct SAR | Pricing confidence | Scope / technical pricing assumptions | Basis / provenance | Solution category | Visual concept | User comments
H-01 | Hotel | Structured cabling, FTTX and data networks | Indexed | Included | 180 | BOQ_ICT_Data_Hotel.xlsx | 3200000 | 704000 | 192000 | 160000 | 4256000 | 2979200 | 6384000 | LOW - UNVERIFIED | MDF/IDF, backbone/fibre, passive Cat6A and active LAN/WLAN; model quantities and network design missing. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/hotel/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
H-02 | Hotel | Telephone system | Indexed | Included | 58 | BOQ_Telephone_Hotel.xlsx | 460000 | 101200 | 27600 | 23000 | 611800 | 428260 | 917700 | LOW - UNVERIFIED | IP telephony/PBX, endpoints, gateways and integration; hotel only indexed. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/hotel/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
H-03 | Hotel | GSM / DAS | Indexed | Included | 3 | BOQ_GSM_DAS_Hotel.xlsx | 680000 | 149600 | 40800 | 34000 | 904400 | 633080 | 1356600 | LOW - UNVERIFIED | Indoor cellular coverage/DAS; operator coordination and survey required. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/hotel/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
H-04 | Hotel | Home automation and GRMS | Indexed | Included | 24 | BOQ_Home_Automation_Hotel.xlsx | 2100000 | 462000 | 126000 | 105000 | 2793000 | 1955100 | 4189500 | LOW - UNVERIFIED | Guest-room automation interfaces, controllers and BMS/PMS links; Assets scope unconfirmed as GRMS. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/hotel/BOQ | Smart Hospitality | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | No source quantity available; conceptual allowance only.
H-05 | Hotel | Audio visual system | Indexed | Included | 45 | BOQ_Audio_Visual_Hotel.xlsx | 2800000 | 616000 | 168000 | 140000 | 3724000 | 2606800 | 5586000 | LOW - UNVERIFIED | Meeting, conference, hospitality public-area AV, controls, cabling, mounting. | ELV_BOQ_Index(1).xlsx ¦ AV/hotel/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No source quantity available; conceptual allowance only.
H-06 | Hotel | Background music | Indexed | Included | 16 | BOQ_BGM_Hotel.xlsx | 760000 | 167200 | 45600 | 38000 | 1010800 | 707560 | 1516200 | LOW - UNVERIFIED | Zoned hospitality music systems, amplifiers, distributed loudspeakers. | ELV_BOQ_Index(1).xlsx ¦ AV/hotel/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No source quantity available; conceptual allowance only.
H-07 | Hotel | IPTV system | Indexed | Included | 17 | BOQ_IPTV_Hotel.xlsx | 850000 | 187000 | 51000 | 42500 | 1130500 | 791350 | 1695750 | LOW - UNVERIFIED | IPTV headend, middleware, guest TV connectivity and integration; Assets unindexed. | ELV_BOQ_Index(1).xlsx ¦ AV/hotel/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No source quantity available; conceptual allowance only.
H-08 | Hotel | Digital signage | Indexed | Included | 5 | BOQ_Digital_Signage_Hotel.xlsx | 580000 | 127600 | 34800 | 29000 | 771400 | 539980 | 1157100 | LOW - UNVERIFIED | Content management players, commercial signage, brackets and software. | ELV_BOQ_Index(1).xlsx ¦ AV/hotel/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No source quantity available; conceptual allowance only.
H-09 | Hotel | CCTV / video surveillance | Indexed | Included | 71 | BOQ_CCTV_Hotel.xlsx | 1650000 | 363000 | 99000 | 82500 | 2194500 | 1536150 | 3291750 | LOW - UNVERIFIED | VMS/NVR, IP cameras, storage, analytics where specified, license/retention. | ELV_BOQ_Index(1).xlsx ¦ Security/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-10 | Hotel | Access control and intrusion alarms | Indexed | Included | 41 | BOQ_Access_Control_Hotel.xlsx | 1220000 | 268400 | 73200 | 61000 | 1622600 | 1135820 | 2433900 | LOW - UNVERIFIED | Doors, readers, controllers, credentials, interfaces, alarm sensors. | ELV_BOQ_Index(1).xlsx ¦ Security/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-11 | Hotel | Intercom systems | Indexed | Included | 14 | BOQ_Intercom_Hotel.xlsx | 330000 | 72600 | 19800 | 16500 | 438900 | 307230 | 658350 | LOW - UNVERIFIED | Security/entrance intercom, stations, integration with ACS. | ELV_BOQ_Index(1).xlsx ¦ Security/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-12 | Hotel | Common electronic security equipment | No indexed BOQ item | Excluded | 0 | BOQ_Security_Common_Hotel.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Shared platform/servers/UPS for security; verify platform overlap. | ELV_BOQ_Index(1).xlsx ¦ Security/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No standalone indexed quantity. Activate only after confirmation.
H-13 | Hotel | People and baggage screening | No indexed BOQ item | Excluded | 0 | BOQ_Screening_Hotel.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Screening equipment is NOT indexed; optional only on design confirmation. | ELV_BOQ_Index(1).xlsx ¦ Security/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No standalone indexed quantity. Activate only after confirmation.
H-14 | Hotel | Fire detection, alarm and voice evacuation | Indexed | Included | 32 | BOQ_Fire_Alarm_Hotel.xlsx | 1550000 | 341000 | 93000 | 77500 | 2061500 | 1443050 | 3092250 | LOW - UNVERIFIED | Fire alarm panels, field devices and relevant evacuation interfaces; approved Civil Defense criteria. | ELV_BOQ_Index(1).xlsx ¦ FA/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-15 | Hotel | Firefighter two-way communication | Indexed | Included | 4 | BOQ_Firefighter_Telephone_Hotel.xlsx | 190000 | 41800 | 11400 | 9500 | 252700 | 176890 | 379050 | LOW - UNVERIFIED | Fireman intercom/telephone stations and controllers. | ELV_BOQ_Index(1).xlsx ¦ FA/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-16 | Hotel | Disabled toilet alarm | Indexed | Included | 8 | BOQ_Disabled_Toilet_Alarm_Hotel.xlsx | 95000 | 20900 | 5700 | 4750 | 126350 | 88445 | 189525 | LOW - UNVERIFIED | Accessible bathroom call and annunciation system. | ELV_BOQ_Index(1).xlsx ¦ Disabled Toilet Alarm/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-17 | Hotel | Parking control, gate barriers and CPMS | Indexed | Included | 20 | BOQ_Parking_Control_Hotel.xlsx | 650000 | 143000 | 39000 | 32500 | 864500 | 605150 | 1296750 | LOW - UNVERIFIED | Barrier arms, parking guidance/payment/access where indicated. | ELV_BOQ_Index(1).xlsx ¦ Parking Control/hotel/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No source quantity available; conceptual allowance only.
H-18 | Hotel | ELV containment and infrastructure interfaces | Indexed | Included | 15 | BOQ_ELV_Common_Hotel.xlsx | 740000 | 162800 | 44400 | 37000 | 984200 | 688940 | 1476300 | LOW - UNVERIFIED | Cable pathways/trays/racks interfaces; coordinate divisions and avoid duplication. | ELV_BOQ_Index(1).xlsx ¦ General Electrical/hotel/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
H-19 | Hotel | Clock system | Indexed | Included | 1 | BOQ_Clock_System_Hotel.xlsx | 100000 | 22000 | 6000 | 5000 | 133000 | 93100 | 199500 | LOW - UNVERIFIED | Master time/synchronization clocks; Hotel index only. | ELV_BOQ_Index(1).xlsx ¦ Clock System/hotel/BOQ | Smart Hospitality | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | No source quantity available; conceptual allowance only.
H-20 | Hotel | Lighting control | Indexed | Included | 129 | BOQ_Lighting_Control_Hotel.xlsx | 2250000 | 495000 | 135000 | 112500 | 2992500 | 2094750 | 4488750 | LOW - UNVERIFIED | Scene controls, DALI/KNX or other approved protocol, dimming panels, interfaces. | ELV_BOQ_Index(1).xlsx ¦ Lighting Control/hotel/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
H-21 | Hotel | Building management and control | Indexed | Included | 4 | BOQ_BMS_Hotel.xlsx | 1700000 | 374000 | 102000 | 85000 | 2261000 | 1582700 | 3391500 | LOW - UNVERIFIED | BMS servers, gateways, controllers, trend/alarm points, dashboards. | ELV_BOQ_Index(1).xlsx ¦ BMS/hotel/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
H-22 | Hotel | Energy metering and BTU meters | Indexed | Included | 10 | BOQ_Metering_and_Energy_Management_Hotel.xlsx | 440000 | 96800 | 26400 | 22000 | 585200 | 409640 | 877800 | LOW - UNVERIFIED | Energy and BTU monitoring, meter gateways, BMS integrations. | ELV_BOQ_Index(1).xlsx ¦ Metering and Energy Management/hotel/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
H-23 | Hotel | Gas detection | Indexed | Included | 1 | BOQ_Gas_Detection_Hotel.xlsx | 90000 | 19800 | 5400 | 4500 | 119700 | 83790 | 179550 | LOW - UNVERIFIED | Gas detectors and panel interfaces; hotel index only. | ELV_BOQ_Index(1).xlsx ¦ Gas Detection/hotel/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
H-24 | Hotel | CO / NOx parking ventilation sensors | Indexed | Included | 2 | BOQ_Parking_Ventilation_Sensors_Hotel.xlsx | 165000 | 36300 | 9900 | 8250 | 219450 | 153615 | 329175 | LOW - UNVERIFIED | Garage sensors, ventilation trigger/controls and integration. | ELV_BOQ_Index(1).xlsx ¦ Parking Ventilation Sensors/hotel/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
H-25 | Hotel | Electric vehicle charging | Indexed | Included | 2 | BOQ_EVC_Hotel.xlsx | 230000 | 50600 | 13800 | 11500 | 305900 | 214130 | 458850 | LOW - UNVERIFIED | EV charging hardware, control and load management, electrical interface by others. | ELV_BOQ_Index(1).xlsx ¦ EVC/hotel/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No source quantity available; conceptual allowance only.
H-26 | Hotel | Smart City | No indexed BOQ item | Excluded | 0 | BOQ_Smart_City_Hotel.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Smart City/hotel/BOQ | Urban Smart Systems | Conceptual city connectivity overlay (subject to scope confirmation) | No standalone indexed quantity. Activate only after confirmation.
H-27 | Hotel | Traffic management | No indexed BOQ item | Excluded | 0 | BOQ_Traffic_Management_Hotel.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Traffic Management/hotel/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No standalone indexed quantity. Activate only after confirmation.
H-28 | Hotel | Water leak detection | No indexed BOQ item | Excluded | 0 | BOQ_Water_Leak_Detection_Hotel.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ Water Leak Detection/hotel/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No standalone indexed quantity. Activate only after confirmation.
A-29 | Assets | Structured cabling, FTTX and data networks | Indexed | Included | 22 | BOQ_ICT_Data_Assets.xlsx | 510000 | 112200 | 30600 | 25500 | 678300 | 474810 | 1017450 | LOW - UNVERIFIED | MDF/IDF, backbone/fibre, passive Cat6A and active LAN/WLAN; model quantities and network design missing. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/asset/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
A-30 | Assets | Telephone system | No indexed BOQ item | Excluded | 0 | BOQ_Telephone_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | IP telephony/PBX, endpoints, gateways and integration; hotel only indexed. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/asset/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No standalone indexed quantity. Activate only after confirmation.
A-31 | Assets | GSM / DAS | No indexed BOQ item | Excluded | 0 | BOQ_GSM_DAS_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Indoor cellular coverage/DAS; operator coordination and survey required. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/asset/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No standalone indexed quantity. Activate only after confirmation.
A-32 | Assets | Home automation and GRMS | Indexed | Included | 5 | BOQ_Home_Automation_Assets.xlsx | 250000 | 55000 | 15000 | 12500 | 332500 | 232750 | 498750 | LOW - UNVERIFIED | Guest-room automation interfaces, controllers and BMS/PMS links; Assets scope unconfirmed as GRMS. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Telecom/asset/BOQ | Smart Hospitality | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | No source quantity available; conceptual allowance only.
A-33 | Assets | Audio visual system | Indexed | Included | 8 | BOQ_Audio_Visual_Assets.xlsx | 370000 | 81400 | 22200 | 18500 | 492100 | 344470 | 738150 | LOW - UNVERIFIED | Meeting, conference, hospitality public-area AV, controls, cabling, mounting. | ELV_BOQ_Index(1).xlsx ¦ AV/asset/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No source quantity available; conceptual allowance only.
A-34 | Assets | Background music | No indexed BOQ item | Excluded | 0 | BOQ_BGM_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Zoned hospitality music systems, amplifiers, distributed loudspeakers. | ELV_BOQ_Index(1).xlsx ¦ AV/asset/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No standalone indexed quantity. Activate only after confirmation.
A-35 | Assets | IPTV system | No indexed BOQ item | Excluded | 0 | BOQ_IPTV_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | IPTV headend, middleware, guest TV connectivity and integration; Assets unindexed. | ELV_BOQ_Index(1).xlsx ¦ AV/asset/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No standalone indexed quantity. Activate only after confirmation.
A-36 | Assets | Digital signage | No indexed BOQ item | Excluded | 0 | BOQ_Digital_Signage_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Content management players, commercial signage, brackets and software. | ELV_BOQ_Index(1).xlsx ¦ AV/asset/BOQ | AV / Guest Experience | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | No standalone indexed quantity. Activate only after confirmation.
A-37 | Assets | CCTV / video surveillance | Indexed | Included | 15 | BOQ_CCTV_Assets.xlsx | 390000 | 85800 | 23400 | 19500 | 518700 | 363090 | 778050 | LOW - UNVERIFIED | VMS/NVR, IP cameras, storage, analytics where specified, license/retention. | ELV_BOQ_Index(1).xlsx ¦ Security/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-38 | Assets | Access control and intrusion alarms | Indexed | Included | 16 | BOQ_Access_Control_Assets.xlsx | 310000 | 68200 | 18600 | 15500 | 412300 | 288610 | 618450 | LOW - UNVERIFIED | Doors, readers, controllers, credentials, interfaces, alarm sensors. | ELV_BOQ_Index(1).xlsx ¦ Security/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-39 | Assets | Intercom systems | Indexed | Included | 7 | BOQ_Intercom_Assets.xlsx | 175000 | 38500 | 10500 | 8750 | 232750 | 162925 | 349125 | LOW - UNVERIFIED | Security/entrance intercom, stations, integration with ACS. | ELV_BOQ_Index(1).xlsx ¦ Security/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-40 | Assets | Common electronic security equipment | Indexed | Included | 6 | BOQ_Security_Common_Assets.xlsx | 160000 | 35200 | 9600 | 8000 | 212800 | 148960 | 319200 | LOW - UNVERIFIED | Shared platform/servers/UPS for security; verify platform overlap. | ELV_BOQ_Index(1).xlsx ¦ Security/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-41 | Assets | People and baggage screening | No indexed BOQ item | Excluded | 0 | BOQ_Screening_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Screening equipment is NOT indexed; optional only on design confirmation. | ELV_BOQ_Index(1).xlsx ¦ Security/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No standalone indexed quantity. Activate only after confirmation.
A-42 | Assets | Fire detection, alarm and voice evacuation | Indexed | Included | 43 | BOQ_Fire_Alarm_Assets.xlsx | 650000 | 143000 | 39000 | 32500 | 864500 | 605150 | 1296750 | LOW - UNVERIFIED | Fire alarm panels, field devices and relevant evacuation interfaces; approved Civil Defense criteria. | ELV_BOQ_Index(1).xlsx ¦ FA/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-43 | Assets | Firefighter two-way communication | Indexed | Included | 2 | BOQ_Firefighter_Telephone_Assets.xlsx | 85000 | 18700 | 5100 | 4250 | 113050 | 79135 | 169575 | LOW - UNVERIFIED | Fireman intercom/telephone stations and controllers. | ELV_BOQ_Index(1).xlsx ¦ FA/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No source quantity available; conceptual allowance only.
A-44 | Assets | Disabled toilet alarm | No indexed BOQ item | Excluded | 0 | BOQ_Disabled_Toilet_Alarm_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Accessible bathroom call and annunciation system. | ELV_BOQ_Index(1).xlsx ¦ Disabled Toilet Alarm/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No standalone indexed quantity. Activate only after confirmation.
A-45 | Assets | Parking control, gate barriers and CPMS | Indexed | Included | 11 | BOQ_Parking_Control_Assets.xlsx | 290000 | 63800 | 17400 | 14500 | 385700 | 269990 | 578550 | LOW - UNVERIFIED | Barrier arms, parking guidance/payment/access where indicated. | ELV_BOQ_Index(1).xlsx ¦ Parking Control/asset/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No source quantity available; conceptual allowance only.
A-46 | Assets | ELV containment and infrastructure interfaces | Indexed | Included | 11 | BOQ_ELV_Common_Assets.xlsx | 370000 | 81400 | 22200 | 18500 | 492100 | 344470 | 738150 | LOW - UNVERIFIED | Cable pathways/trays/racks interfaces; coordinate divisions and avoid duplication. | ELV_BOQ_Index(1).xlsx ¦ General Electrical/asset/BOQ | ICT / Connectivity | A cutaway of hidden fibre backbone and secure network core under the hospitality building | No source quantity available; conceptual allowance only.
A-47 | Assets | Clock system | No indexed BOQ item | Excluded | 0 | BOQ_Clock_System_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Master time/synchronization clocks; Hotel index only. | ELV_BOQ_Index(1).xlsx ¦ Clock System/asset/BOQ | Smart Hospitality | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | No standalone indexed quantity. Activate only after confirmation.
A-48 | Assets | Lighting control | Indexed | Included | 4 | BOQ_Lighting_Control_Assets.xlsx | 210000 | 46200 | 12600 | 10500 | 279300 | 195510 | 418950 | LOW - UNVERIFIED | Scene controls, DALI/KNX or other approved protocol, dimming panels, interfaces. | ELV_BOQ_Index(1).xlsx ¦ Lighting Control/asset/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
A-49 | Assets | Building management and control | Indexed | Included | 3 | BOQ_BMS_Assets.xlsx | 280000 | 61600 | 16800 | 14000 | 372400 | 260680 | 558600 | LOW - UNVERIFIED | BMS servers, gateways, controllers, trend/alarm points, dashboards. | ELV_BOQ_Index(1).xlsx ¦ BMS/asset/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
A-50 | Assets | Energy metering and BTU meters | Indexed | Included | 1 | BOQ_Metering_and_Energy_Management_Assets.xlsx | 80000 | 17600 | 4800 | 4000 | 106400 | 74480 | 159600 | LOW - UNVERIFIED | Energy and BTU monitoring, meter gateways, BMS integrations. | ELV_BOQ_Index(1).xlsx ¦ Metering and Energy Management/asset/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
A-51 | Assets | Gas detection | No indexed BOQ item | Excluded | 0 | BOQ_Gas_Detection_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | Gas detectors and panel interfaces; hotel index only. | ELV_BOQ_Index(1).xlsx ¦ Gas Detection/asset/BOQ | Security / Life Safety | Discreet camera/security monitoring / emergency life safety response visualisation | No standalone indexed quantity. Activate only after confirmation.
A-52 | Assets | CO / NOx parking ventilation sensors | Indexed | Included | 1 | BOQ_Parking_Ventilation_Sensors_Assets.xlsx | 75000 | 16500 | 4500 | 3750 | 99750 | 69825 | 149625 | LOW - UNVERIFIED | Garage sensors, ventilation trigger/controls and integration. | ELV_BOQ_Index(1).xlsx ¦ Parking Ventilation Sensors/asset/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No source quantity available; conceptual allowance only.
A-53 | Assets | Electric vehicle charging | No indexed BOQ item | Excluded | 0 | BOQ_EVC_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | EV charging hardware, control and load management, electrical interface by others. | ELV_BOQ_Index(1).xlsx ¦ EVC/asset/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No standalone indexed quantity. Activate only after confirmation.
A-54 | Assets | Smart City | No indexed BOQ item | Excluded | 0 | BOQ_Smart_City_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Smart City/asset/BOQ | Urban Smart Systems | Conceptual city connectivity overlay (subject to scope confirmation) | No standalone indexed quantity. Activate only after confirmation.
A-55 | Assets | Traffic management | No indexed BOQ item | Excluded | 0 | BOQ_Traffic_Management_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ IT-Smart City_Telecom/Traffic Management/asset/BOQ | Mobility / Parking | Elegant arrival gate and connected underground parking journey | No standalone indexed quantity. Activate only after confirmation.
A-56 | Assets | Water leak detection | No indexed BOQ item | Excluded | 0 | BOQ_Water_Leak_Detection_Assets.xlsx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LOW - UNVERIFIED | No indexed BOQ rows. Do not price as committed scope. | ELV_BOQ_Index(1).xlsx ¦ Water Leak Detection/asset/BOQ | Smart Building / Controls | Invisible digital twin showing metering, light scenes and BMS building performance | No standalone indexed quantity. Activate only after confirmation.

## Assumptions
MSD ¦ BUDGETARY ESTIMATING ASSUMPTIONS
CONCEPT-LEVEL / NOT A TENDER BOQ • ALL VALUES IN SAR EXCLUDING VAT UNLESS STATED
GLOBAL VARIABLE | VALUE | BASIS / EDITING NOTES
Site installation / integration | 22% | Provisional labour and installation allowance as a share of equipment supply.
Engineering / submittals | 6% | Design, coordination, documents and engineering allowance.
Testing / commissioning | 5% | Configuration, testing, FAT/SAT and handover allowance.
Project preliminaries / PM | 8% | Applied to direct costs; site supervision, HSE and preliminaries.
Estimating contingency | 20% | Applied to cost after preliminaries; large due to absent source BOQs.
Commercial markup on cost | 15% | MARKUP, not gross-margin percentage; applied after contingency.
VAT | 15% | Saudi standard VAT assumption; confirm applicability in contract.
LOW scenario multiplier | 70% | Applied to system direct costs before project-level additions.
HIGH scenario multiplier | 150% | Applied to system direct costs before project-level additions.
CRITICAL MODEL LIMITATIONS
1) BOQ Index contains 857 rows of indexed items across 38 nonzero system packages; 857 is NOT device quantity.
2) Linked BOQ spreadsheets and approved drawings referenced by the registers were NOT included in the five-file package.
3) Supply budget assumptions are analyst-built scenario placeholders, not received supplier quotations or verified site quantities.
4) Any combination with zero indexed BOQ rows is EXCLUDED from totals by default, even when its name appears in document registers.
5) Price assumptions span premium hotel / branded residences and adjacent assets, with substantial quantity and brand uncertainty.
6) Avoid double counting: AV vs BGM/IPTV/signage; GRMS vs lighting control/BMS; ELV containment vs ICT pathways.
7) Fire/life safety systems require licensed specialist review, authority approval and updated fire-engineering design.
8) Do not present this workbook as a firm offer or place purchase orders based on it. Seek detailed BoQs and supplier quotes.
9) Price ranges are SCENARIOS, not statistically validated confidence intervals or guaranteed +/- tolerances.

## Scope Gaps
SCOPE VERIFICATION ¦ HOLD POINTS & UNPRICED PACKAGES
Building | System | Current finding | Named source file | Estimate treatment | Scope guidance | Action / query
Hotel | Common electronic security equipment | No dedicated indexed BOQ rows | BOQ_Security_Common_Hotel.xlsx | NOT INCLUDED | Shared platform/servers/UPS for security; verify platform overlap. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Hotel | People and baggage screening | No dedicated indexed BOQ rows | BOQ_Screening_Hotel.xlsx | NOT INCLUDED | Screening equipment is NOT indexed; optional only on design confirmation. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Hotel | Smart City | No dedicated indexed BOQ rows | BOQ_Smart_City_Hotel.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Hotel | Traffic management | No dedicated indexed BOQ rows | BOQ_Traffic_Management_Hotel.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Hotel | Water leak detection | No dedicated indexed BOQ rows | BOQ_Water_Leak_Detection_Hotel.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Telephone system | No dedicated indexed BOQ rows | BOQ_Telephone_Assets.xlsx | NOT INCLUDED | IP telephony/PBX, endpoints, gateways and integration; hotel only indexed. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | GSM / DAS | No dedicated indexed BOQ rows | BOQ_GSM_DAS_Assets.xlsx | NOT INCLUDED | Indoor cellular coverage/DAS; operator coordination and survey required. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Background music | No dedicated indexed BOQ rows | BOQ_BGM_Assets.xlsx | NOT INCLUDED | Zoned hospitality music systems, amplifiers, distributed loudspeakers. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | IPTV system | No dedicated indexed BOQ rows | BOQ_IPTV_Assets.xlsx | NOT INCLUDED | IPTV headend, middleware, guest TV connectivity and integration; Assets unindexed. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Digital signage | No dedicated indexed BOQ rows | BOQ_Digital_Signage_Assets.xlsx | NOT INCLUDED | Content management players, commercial signage, brackets and software. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | People and baggage screening | No dedicated indexed BOQ rows | BOQ_Screening_Assets.xlsx | NOT INCLUDED | Screening equipment is NOT indexed; optional only on design confirmation. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Disabled toilet alarm | No dedicated indexed BOQ rows | BOQ_Disabled_Toilet_Alarm_Assets.xlsx | NOT INCLUDED | Accessible bathroom call and annunciation system. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Clock system | No dedicated indexed BOQ rows | BOQ_Clock_System_Assets.xlsx | NOT INCLUDED | Master time/synchronization clocks; Hotel index only. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Gas detection | No dedicated indexed BOQ rows | BOQ_Gas_Detection_Assets.xlsx | NOT INCLUDED | Gas detectors and panel interfaces; hotel index only. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Electric vehicle charging | No dedicated indexed BOQ rows | BOQ_EVC_Assets.xlsx | NOT INCLUDED | EV charging hardware, control and load management, electrical interface by others. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Smart City | No dedicated indexed BOQ rows | BOQ_Smart_City_Assets.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Traffic management | No dedicated indexed BOQ rows | BOQ_Traffic_Management_Assets.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.
Assets | Water leak detection | No dedicated indexed BOQ rows | BOQ_Water_Leak_Detection_Assets.xlsx | NOT INCLUDED | No indexed BOQ rows. Do not price as committed scope. | Confirm with owner/consultant: BOQ, drawings, boundaries and interface matrix.

## Systems & Visuals
SOLUTION CATALOGUE ¦ WHAT TO VISUALISE AND PRICE
# | System | Category | Hotel index rows | Assets index rows | Concept render / camera shot | Technical hero elements | Slide / scene objective | Evidence note
1 | Structured cabling, FTTX and data networks | ICT / Connectivity | 180 | 22 | A cutaway of hidden fibre backbone and secure network core under the hospitality building | MDF/IDF, backbone/fibre, passive Cat6A and active LAN/WLAN; model quantities and network design missing. | Explain Structured cabling, FTTX and data networks from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
2 | Telephone system | ICT / Connectivity | 58 | 0 | A cutaway of hidden fibre backbone and secure network core under the hospitality building | IP telephony/PBX, endpoints, gateways and integration; hotel only indexed. | Explain Telephone system from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
3 | GSM / DAS | ICT / Connectivity | 3 | 0 | A cutaway of hidden fibre backbone and secure network core under the hospitality building | Indoor cellular coverage/DAS; operator coordination and survey required. | Explain GSM / DAS from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
4 | Home automation and GRMS | Smart Hospitality | 24 | 5 | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | Guest-room automation interfaces, controllers and BMS/PMS links; Assets scope unconfirmed as GRMS. | Explain Home automation and GRMS from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
5 | Audio visual system | AV / Guest Experience | 45 | 8 | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | Meeting, conference, hospitality public-area AV, controls, cabling, mounting. | Explain Audio visual system from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
6 | Background music | AV / Guest Experience | 16 | 0 | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | Zoned hospitality music systems, amplifiers, distributed loudspeakers. | Explain Background music from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
7 | IPTV system | AV / Guest Experience | 17 | 0 | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | IPTV headend, middleware, guest TV connectivity and integration; Assets unindexed. | Explain IPTV system from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
8 | Digital signage | AV / Guest Experience | 5 | 0 | Luxury banquet hall, public lobby and guest TV/media wall cinematic activation | Content management players, commercial signage, brackets and software. | Explain Digital signage from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
9 | CCTV / video surveillance | Security / Life Safety | 71 | 15 | Discreet camera/security monitoring / emergency life safety response visualisation | VMS/NVR, IP cameras, storage, analytics where specified, license/retention. | Explain CCTV / video surveillance from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
10 | Access control and intrusion alarms | Security / Life Safety | 41 | 16 | Discreet camera/security monitoring / emergency life safety response visualisation | Doors, readers, controllers, credentials, interfaces, alarm sensors. | Explain Access control and intrusion alarms from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
11 | Intercom systems | Security / Life Safety | 14 | 7 | Discreet camera/security monitoring / emergency life safety response visualisation | Security/entrance intercom, stations, integration with ACS. | Explain Intercom systems from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
12 | Common electronic security equipment | Security / Life Safety | 0 | 6 | Discreet camera/security monitoring / emergency life safety response visualisation | Shared platform/servers/UPS for security; verify platform overlap. | Explain Common electronic security equipment from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
13 | People and baggage screening | Security / Life Safety | 0 | 0 | Discreet camera/security monitoring / emergency life safety response visualisation | Screening equipment is NOT indexed; optional only on design confirmation. | Explain People and baggage screening from a premium hospitality experience with a clear architecture cutaway. | NOT indexed; visualise only as optional concept
14 | Fire detection, alarm and voice evacuation | Security / Life Safety | 32 | 43 | Discreet camera/security monitoring / emergency life safety response visualisation | Fire alarm panels, field devices and relevant evacuation interfaces; approved Civil Defense criteria. | Explain Fire detection, alarm and voice evacuation from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
15 | Firefighter two-way communication | Security / Life Safety | 4 | 2 | Discreet camera/security monitoring / emergency life safety response visualisation | Fireman intercom/telephone stations and controllers. | Explain Firefighter two-way communication from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
16 | Disabled toilet alarm | Security / Life Safety | 8 | 0 | Discreet camera/security monitoring / emergency life safety response visualisation | Accessible bathroom call and annunciation system. | Explain Disabled toilet alarm from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
17 | Parking control, gate barriers and CPMS | Mobility / Parking | 20 | 11 | Elegant arrival gate and connected underground parking journey | Barrier arms, parking guidance/payment/access where indicated. | Explain Parking control, gate barriers and CPMS from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
18 | ELV containment and infrastructure interfaces | ICT / Connectivity | 15 | 11 | A cutaway of hidden fibre backbone and secure network core under the hospitality building | Cable pathways/trays/racks interfaces; coordinate divisions and avoid duplication. | Explain ELV containment and infrastructure interfaces from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
19 | Clock system | Smart Hospitality | 1 | 0 | Premium guest suite: one-tap welcome lighting, temperature, curtains and integrated services | Master time/synchronization clocks; Hotel index only. | Explain Clock system from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
20 | Lighting control | Smart Building / Controls | 129 | 4 | Invisible digital twin showing metering, light scenes and BMS building performance | Scene controls, DALI/KNX or other approved protocol, dimming panels, interfaces. | Explain Lighting control from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
21 | Building management and control | Smart Building / Controls | 4 | 3 | Invisible digital twin showing metering, light scenes and BMS building performance | BMS servers, gateways, controllers, trend/alarm points, dashboards. | Explain Building management and control from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
22 | Energy metering and BTU meters | Smart Building / Controls | 10 | 1 | Invisible digital twin showing metering, light scenes and BMS building performance | Energy and BTU monitoring, meter gateways, BMS integrations. | Explain Energy metering and BTU meters from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
23 | Gas detection | Security / Life Safety | 1 | 0 | Discreet camera/security monitoring / emergency life safety response visualisation | Gas detectors and panel interfaces; hotel index only. | Explain Gas detection from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
24 | CO / NOx parking ventilation sensors | Smart Building / Controls | 2 | 1 | Invisible digital twin showing metering, light scenes and BMS building performance | Garage sensors, ventilation trigger/controls and integration. | Explain CO / NOx parking ventilation sensors from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
25 | Electric vehicle charging | Mobility / Parking | 2 | 0 | Elegant arrival gate and connected underground parking journey | EV charging hardware, control and load management, electrical interface by others. | Explain Electric vehicle charging from a premium hospitality experience with a clear architecture cutaway. | Indexed in one/both
26 | Smart City | Urban Smart Systems | 0 | 0 | Conceptual city connectivity overlay (subject to scope confirmation) | No indexed BOQ rows. Do not price as committed scope. | Explain Smart City from a premium hospitality experience with a clear architecture cutaway. | NOT indexed; visualise only as optional concept
27 | Traffic management | Mobility / Parking | 0 | 0 | Elegant arrival gate and connected underground parking journey | No indexed BOQ rows. Do not price as committed scope. | Explain Traffic management from a premium hospitality experience with a clear architecture cutaway. | NOT indexed; visualise only as optional concept
28 | Water leak detection | Smart Building / Controls | 0 | 0 | Invisible digital twin showing metering, light scenes and BMS building performance | No indexed BOQ rows. Do not price as committed scope. | Explain Water leak detection from a premium hospitality experience with a clear architecture cutaway. | NOT indexed; visualise only as optional concept

## Source Register
DOCUMENT & PRICE BASIS REGISTER
Reference | Role in model | Status / what verified | Link or filename | Reliability / usage note
Client document: ELV_BOQ_Index(1).xlsx | Systems and counts | 56 building/system combinations; 38 indexed; 18 zero-indexed | ELV_BOQ_Index(1).xlsx | File contains names and indexed item counts, NOT quantities or specifications.
Client document: ELV_Package_LOG(2).xlsx | Design register | Links to plans, reports and BOQs | ELV_Package_LOG(2).xlsx | Links/register metadata are not equivalent to attached detailed source BOQs.
Client document: ELV_Package_Status_OneDrive(1).xlsx | Scope cross-check | Hotel vs assets drawing/specification references | ELV_Package_Status_OneDrive(1).xlsx | Document statuses not priced quantities.
Client document: PQQ CHECKLIST - Hotel (SSH)(1).docx | Qualification | Hotel/Branded Residences prequalification | PQQ CHECKLIST - Hotel (SSH)(1).docx | Contractor prequalification checklist only.
Client document: PQQ CHECKLIST -Assets (Omrania)(1).docx | Qualification | Assets prequalification | PQQ CHECKLIST -Assets (Omrania)(1).docx | Contractor prequalification checklist only.
External example: Shan Network (2026) | Indicative structured cabling rates | Example Cat6/6A/fibre and installed point ranges | https://shannetworkcompany.com/structured-cabling-saudi-arabia/ | Online vendor marketing prices; not project quotations; only a plausibility reference.
External example: Flow Star Technology | Indicative ACS commercial range | Saudi access control published ranges | https://flowstartech.com/services/access-control-solution | Vendor-published illustrative cost ranges; varies radically with brand/doors.
External example: MMITSA | Indicative ACS commercial range | Saudi system scale pricing | https://mmitsa.com/service/access-control-systems/ | Vendor-published illustrative costs; not validated for Waldorf Astoria.
Analyst-supplied budget allowance | Supply-only amount H6:H61 | Conceptual internal SAR placeholders | Package Estimates!H6:H61 | NOT verified market quotes, not based on device quantities; blue cells intended for editing.

## Instructions
MSD ¦ MODEL OPERATING INSTRUCTIONS
01 · PURPOSE | Board-level conceptual budgeting / procurement planning for ELV solutions at two Diriyah project areas.
02 · WHAT IS COUNTED | 857 = indexed BOQ item ROWS, not cameras, speakers, hotel rooms or ordered equipment.
03 · EDIT A SYSTEM | Go to Package Estimates. Change the yellow/blue Supply allowance in column H (SAR equipment only).
04 · TO INCLUDE / EXCLUDE | Change the yellow column E between Included and Excluded. Zero-indexed combinations start Excluded.
05 · EDIT WORKS COST | Change Assumptions B6:B14 to adjust installation, design, commissioning, PM, risk and scenarios.
06 · VIEW PROJECT TOTAL | Executive Dashboard lines 19 (excl. VAT) and 21 (incl. VAT) show Low/Base/High scenario totals.
07 · SPLIT BY BUILDING | Executive Dashboard rows 6-10 track Hotel versus Assets; Package Estimates has per-system costs.
08 · REQUIRED FOR REAL RFQ | Obtain actual referenced BOQ workbooks, drawing PDFs, device counts, specs, preferred makes, commercial terms.
09 · VISUAL PROPOSAL | Use Systems & Visuals sheet to guide render storyboard in the companion Lovable master prompt.
10 · WARNING | These are analyst assumptions, not tender rates. They may differ materially from supplier quotations.